## Sheet1
Information:
Incubator - Manufacturer name and model #
Operational CO2 set point
Culture Media used - Manufacturer name, Part #, Lot #
Overlay oil - Manufacturer name, Part #, Lot #
Paste Data below as in the example
[5 empty] | (If more than one data set is pasted delete the DateTime headings in subsequent data sets) | [8 empty] | Formula to convert DateTime to hours
| Name | Serial # | Test ID | pH ID | DateTime | pH | fr | fp | Ratio | Led DRV | G Ref | G pH |  | (Change $F$11 to refer to test start time)
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 14:27 | 7.29 | 1073 | 1546 | 1.6 | 122 | 30 | 173 |  | 0
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 14:28 | 7.29 | 1071 | 1540 | 1.594 | 122 | 30 | 173 |  | 0.020833
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 14:29 | 7.29 | 1072 | 1542 | 1.596 | 122 | 30 | 173 |  | 0.04
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 15:00 | 7.3 | 1066 | 1549 | 1.623 | 122 | 30 | 173 |  | 0.54889
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 15:30 | 7.31 | 1066 | 1553 | 1.628 | 122 | 30 | 173 |  | 1.0544
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 16:01 | 7.3 | 1066 | 1551 | 1.625 | 122 | 30 | 173 |  | 1.56
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 16:31 | 7.29 | 1065 | 1543 | 1.614 | 122 | 30 | 173 |  | 2.0656
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 17:01 | 7.29 | 1067 | 1543 | 1.61 | 122 | 30 | 173 |  | 2.5711
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 17:32 | 7.29 | 1067 | 1541 | 1.607 | 122 | 30 | 173 |  | 3.0767
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 18:02 | 7.28 | 1072 | 1544 | 1.6 | 122 | 30 | 173 |  | 3.5844
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 18:32 | 7.28 | 1066 | 1533 | 1.596 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 19:03 | 7.28 | 1067 | 1535 | 1.596 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 19:33 | 7.28 | 1065 | 1529 | 1.591 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 20:03 | 7.28 | 1068 | 1533 | 1.591 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 20:34 | 7.28 | 1065 | 1528 | 1.589 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 21:04 | 7.28 | 1066 | 1528 | 1.587 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 21:34 | 7.27 | 1066 | 1527 | 1.585 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 22:05 | 7.27 | 1068 | 1528 | 1.582 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 22:35 | 7.27 | 1067 | 1526 | 1.582 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 23:05 | 7.27 | 1069 | 1530 | 1.583 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-20 23:36 | 7.27 | 1066 | 1523 | 1.578 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 00:06 | 7.27 | 1067 | 1525 | 1.58 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 00:36 | 7.27 | 1066 | 1521 | 1.574 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 01:07 | 7.27 | 1065 | 1522 | 1.58 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 01:37 | 7.27 | 1064 | 1516 | 1.571 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 02:07 | 7.27 | 1066 | 1521 | 1.574 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 02:38 | 7.27 | 1063 | 1515 | 1.573 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 03:08 | 7.27 | 1062 | 1514 | 1.573 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 03:38 | 7.27 | 1063 | 1514 | 1.571 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 04:09 | 7.27 | 1061 | 1511 | 1.571 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 04:39 | 7.27 | 1061 | 1510 | 1.569 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 05:09 | 7.27 | 1061 | 1509 | 1.567 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 05:40 | 7.27 | 1060 | 1507 | 1.566 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 06:10 | 7.26 | 1063 | 1509 | 1.562 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 06:40 | 7.26 | 1060 | 1504 | 1.56 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 07:11 | 7.27 | 1059 | 1506 | 1.567 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 07:41 | 7.26 | 1059 | 1503 | 1.562 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 08:11 | 7.27 | 1058 | 1506 | 1.569 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 08:42 | 7.36 | 1043 | 1537 | 1.659 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 09:12 | 7.42 | 1026 | 1551 | 1.727 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 09:42 | 7.47 | 1016 | 1570 | 1.788 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 10:13 | 7.52 | 1008 | 1584 | 1.834 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 10:43 | 7.56 | 997 | 1591 | 1.877 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 11:13 | 7.55 | 1005 | 1596 | 1.865 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 11:44 | 7.47 | 1022 | 1573 | 1.777 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 12:14 | 7.41 | 1036 | 1557 | 1.711 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 12:44 | 7.37 | 1039 | 1535 | 1.666 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 13:15 | 7.34 | 1047 | 1532 | 1.641 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 13:45 | 7.32 | 1050 | 1524 | 1.619 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 14:15 | 7.31 | 1049 | 1515 | 1.607 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 14:46 | 7.3 | 1049 | 1508 | 1.594 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 15:16 | 7.3 | 1050 | 1505 | 1.587 | 122 | 30 | 173
| TRAKPODB1024 | TRAKPODB1024 | 24 | 74982 | 2016-04-21 15:46 | 7.29 | 1050 | 1503 | 1.583 | 122 | 30 | 173