## Sheet1
Changing pH from Certificate of Analysis to your local conditions
| CoA conditions |  |  |  | Clinic conditions |  |  |  | As stated on certificate of analysis
| pH | 7.41 | [6 empty] | As measured or known by the clinic
| %CO2 | 5 | * |  | %CO2 | 5 | *
[9 empty] | * | NOTE: The percent CO2 cannot be zero, ambient air has 0.039% CO2
| Pressure | 1 | ** |  | Pressure | 1 | **
|  | or |  |  |  | or |  |  | ** | NOTE: The pressure must be in the same units as the pressure stated under the CoA.
| Altitude | 100 |  |  | Altitude | 100
| Units | m |  |  | Units | m
USER INPUTS ARE ABOVE. Automatic calculations and results are below.
FORM 1 | Known Pressures
m
ft
| pH = | 7.41 |  | + | Log | 5 | x | 1
[6 empty] | 5 | x | 1
| pH = | 7.41 |  | + |  | 0 | + | 0
[6 empty] | CO2 impact |  | Pressure Impact
| pH = | 7.41
FORM 2 | Known Elevations
| pH = | 7.41 | + | Log | 5 | x | e^ | 0.00011 | x | (100 | -100)
5
| pH = | 7.41 | + |  | 0 | + | 0
[5 empty] | CO2 impact |  | Elevation impact
| pH = | 7.41
This file is available for download from http://www.safesens.com/ivm/